LUCA @ CAHA Schmidt

Project overview

| Rev. No. | Document authors / contributors | Approval | Date |
| --- | --- | --- | --- |
| 1 | F. Prada, E. Pérez, R. Content, J. Lawrence, G. Murray, J.M. Ibáñez, J. Sánchez, E. Sánchez, S. Tulloch, R. García Benito, L. Izzo, E. Pérez Montero | Francisco Prada | 3 May 2019 |

Principal Investigator: 	Francisco Prada

f.prada@csic.es

Outline

- Introduction

- Team & Collaborators

- LUCA Science at the CAHA Schmidt telescope

- Instrument overview

- Project Layout: work packages

- Project schedule and costs

- Competition beyond 2020: SDSS-V Local Volume Mapper

- Appendix: AAO trade-off spectrograph study for the Calar Alto Schmidt telescope

### Audentes fortuna iuvat.

### Publio Virgilio, Eneida, 10, 284.

Ex nihilo nihil fit.

1. Introduction

This document has been produced under the request of the Director of the IAA for his decision to provide the necessary resources to move forward with the completion of the LUCA spectrograph construction at the Schmidt telescope and the signature of the required MoU CAHA-IAA that will guarantee the access to the Schmidt telescope at Calar Alto during the 3-year (good weather) duration of the project.

The document presents a complete overview of the LUCA Project at the Calar Alto Schmidt telescope. The work included in this report has been performed over the past 2 years by a team of engineers/scientists at the IAA-CSIC and other institutions/consultants, in close contact with the CAHA staff. We provide specifications, requirements, science cases, description of the different instrument systems, optical layout, performances and design, expected schedule and costs.

Warning: this document (LUCA_RPT_001) should be read and understood within the larger context of the LUCA Project at the CAHA 3.5m telescope.

2. Team and collaborators

The work presented in this report has been performed over the past 2 years by our team at the IAA-CSIC in collaboration other institutions, in close contact with the CAHA staff.

LUCA Team:

- IAA-CSIC:

Francisco Prada, Principal Investigator, Project Manager, Instrument Scientist

Enrique Pérez, Project Scientist

Justo Sánchez, Electronic Engineer

José Miguel Ibáñez, Software Engineer

Ernesto Sánchez, Optical Consultant

R. García Benito, L. Izzo, E. Pérez-Montero, E. Pérez, F. Prada, Science Collaborators

We thank María Balaguer, Head of UDIT, for her comments and recommendations on different

aspects of the Project Management and AIV.

- Collaborators

Graham Murray (Durham University), Fiber System and Slit Assembly

Simon Tulloch (QUCAM), Detector System

Robert Content and Jon Lawrence (AAO), Spectrograph System

- CAHA staff

Gilles Bergond, Observatory Contact

Luis Hernández, Electronic Engineer

Santiago Reinhart, Mechanical Engineer

3. LUCA science at the CAHA Schmidt telescope

The Local Group galaxies M31 and M33 have huge angular sizes (3º and 1.2º angular diameter) that far exceed the 5' mean angular size of the galaxies in the main LUCA sample. If we attempt to fully map them with the proposed IFU instrument (FoV 3' x 3') at the 3.5 m, both galaxies would absorb an unreasonable amount of observing time. However, these galaxies are fundamental in our understanding of the structure and evolution of galaxies, as shown by the exhaustive literature published over a century, and largely constitute the overall success of the LUCA Project. M31 and M33, together with the Milky Way, are the main players in the Local Group, and they also provide the highest spatial resolution, 25 pc of the LUCA galaxy sample. The technical features of the Schmidt telescope provide the adequate technical requirements and time availability to make it an efficient facility to perform an IFU mapping of those two galaxies, plus M101. This will be possible only with the new wide FoV IFU spectrograph proposed in this report for the Schmidt telescope at Calar Alto.

The figure shows one fiber bundle IFU pointing on M33 including the giant HII region NGC604 in the top left hand side. A total of about >800 fibers can be accommodated side by side for a fiber core of 100 micron (8") and total fiber diameter (including clad, buffer, and tolerance) of 150 micron (12.93"). In a squared arrangement as shown, this provides a FoV = 6’ x 6’, and a total of 25-50 pointings are needed to cover M33 entirely.

To meet the science goals a new fiber-fed spectrograph will be attached to the 80 cm Schmidt telescope which will allow observing in the optical spectral range 360-880 (360-680) with resolution 4000 (2000). The IFU will have a unique wide FOV of 6' x 6' with >800 fibres, each of 8" aperture on the sky which corresponds to 25 pc physical scale in M31 and M33.

First light at the telescope is foreseen for June 2021, which will guarantee the IFU mapping observations of M31/M33 over the Autumn 2021 semester. Thus, science data will be granted before the end of the IAA Severo Ochoa Project as required.

The science cases listed below represent a summary of the main science program of the LUCA Project to be done at the Schmidt telescope:

3.1 Hierarchical structure in the Pan-Andromeda Archaeological Survey

3.2 Star formation and remnant studies at high spatial resolution

3.3 2D Photoionization models of HII regions

3.4 Studies of HII regions and dust

3.5 Galaxy formation: the reversed radial stellar age gradient in the outskirts of M33

3.6 Transient studies in M31 and M33

3.7 Resolved stellar populations in M31

3.1 Hierarchical structure in the Pan-Andromeda Archaeological Survey

The Pan-Andromeda Archaeological Survey (McConnachie et al. 2018) is a survey of 400 square degrees centered on the Andromeda (M31) and Triangulum (M33) galaxies. A dozen of distinctive substructures were detected and produced by at least 5 different accretion events, all in the last 3 or 4 Gyrs. A few of the substructures furthest from M31 may be shells from a single accretion event. M31’s halo seems to be dominated by two "mega-structures" that can be considered as the two most significant branches of a merger tree produced by breaking M31’s stellar halo into smaller and smaller structures. One of the streams could in fact be associated primarily with M33’s halo (see figures below). The LUCA@CAHA Schmidt spectral data cubes will contribute to understanding the formation of the Pan-Andromeda system.

| Tangent plane projection centered on M31 showing the spatial density distribution of candidate red giant branch stars. The dashed circles correspond to projected radii of 50kpc, 100kpc, and 150kpc from M31, and 50 kpc from M33. | Tangent plane projection centered on M31 with the positions of all major stellar substructures, globular clusters and dwarf galaxies highlighted. (McConnachie et al. 2018) |
| --- | --- |

3.2 Star formation and remnants studies at high spatial resolution

White et al. (2019) have performed new 1.4 GHz and 5 GHz observations of the Local Group galaxy M33 with the Jansky Very Large Array. The survey has a limiting sensitivity of 20 μJy and a resolution of 5.9′′ (FWHM), corresponding to a spatial resolution of 24 pc. This map offers a unique opportunity for the comparison at the same spatial resolution with our planned LUCA IFU spectroscopy of M33 at the Schmidt telescope.

The panel below, taken from White et al. (2019), shows a 4.4' by 10.7′ region of the southern spiral arm in M33. The top panel is the color radio spectral index map. Locations for optically detected SNRs are shown as white ellipses; many can be identified by cross-referencing to the middle panel that shows a three-color image of continuum-subtracted emission line data, with Hα in red, [SII] in green, and [OIII] in blue. The bottom panel is a continuum-subtracted Hα image. The green overlay shows radio contours from the 1.4 GHz data. Red crosses mark the positions of radio sources from their catalog in this region. Some of the complexity of making associations between radio sources and either HII regions or SNRs can be seen here. This can be studied in detail with LUCA.

This figure, taken from White et al. (2019), shows a 4.4' by 10.7′ region of the southern spiral arm in M33. Some of the complexity of making associations between radio sources and either HII regions or SNRs can be studied in detail with LUCA.

3.3 2D Photoionization models of HII

2D IFU maps of the main optical emission lines (from [OII] 3727 up to [SII] 6731) complementing available IR data from Herschel ST will help to constrain 3D photoionisation models and provide answers to the radial distribution of metallicity, nature of the ionising clusters, dust-to-gas mass ratio, depletion factors, and fraction of escaping photons in the whole disk of resolved galaxies, such as M31 and M33.

NGC 588 @M33 (4 arcsec width annuli from mosaic of PMAS) Pérez-Montero et al. (2014).

3.4 Studies of HII and dust

Optical IFU maps of nearby galaxies enable to: (i) resolve HII regions, (ii) reveal and resolve the diffuse ionized gas, (iii) map dust within galaxies.

M33 is ideal because: (i) high (25 pc) spatial scales, (ii) low metallicity environment, (iii) existing extensive multi-wavelength coverage, (iv) high (50pc) resolution CO maps (Rosolowsky et al 2007).

Thus enabling studies of HII regions and dust at the spatial scales relevant for understanding the physics of star formation.

Kreckel et al (2013), using 12 loci adding up to 3'x3' field PPAK data from 3.5m@CAHA show that galaxies observed at ~500pc scales do not obey a simple foreground screen model for extinction, while in M31, with 10 pc resolution the extinction is well modelled by a simple screen. Similar data by Tomičić et al 2017 and 2019 shows the importance of high spatial resolution to understand the mixed role of dust and DIG; and find that star formation rate prescriptions in M31 do not change with spatial scales 10 - 900 pc.

Kreckel et al (2013) (left) and Tomičić et al (2017) (right) results for dust extinction.

3.5 Galaxy formation: the reversed radial stellar age gradient in the outskirts of M33

HST/ACS observations along the major axis of M33 show that the mean age of its stars decreases with increasing distance from the galaxy center. Such a behavior is consistent with an inside-out growth of the disc. However, in the outermost observed field, at r ≃ 11.6 kpc, a reversal of this gradient is detected, with old stars found in high percentages beyond this radius. LUCA at the CAHA Schmidt offered an unique opportunity to confirm this fundamental results which is key to understand galaxy formation. The LUCA 3D data cubes will also serve as a challenge to probe the results of hydro-dynamical cosmological models of M33 in this context. See the figures below with some of the predictions and results highlighted.

The LUCA M33 data will also be unique to determine the nature of dark matter by means of providing a constraint for the dark matter density profile. This will be determined from the modelling of the observed kinematics of gas and stars. M33 is an ideal case this is study since it is a disk only galaxy and very nearby.

Stellar (left) and gas (right) mass densities of the simulated M33 galaxy at z=0.

(left) Fraction of in situ and accreted stellar particles within radial bins for M33 at z=0.The in situ stars made up ~80% of the total stellar mass within r=15 kpc while at 30 kpc it decreases to ~20%. The stars accreted via mergers increase with radius causing the age-reversal observed at large radii. (right) Circular velocity profiles of DM halo (black), stars (red), and HI gas (blue) of the simulated M33 (solid lines) compared with observations from Corbelli et al (2014) (dashed).

3.6 Transient studies in M31 and M33

Detection and characterisation of classical novae in M31 and M33. Two main scientific cases:

(i) Nova rate and their relation with SN Ia progenitor (SDD or DD) and stellar population.

(ii) The role of CNe as factories of chemical elements in these galaxies.

The chart below summarises the aspects of the detection and characterisation of novae in M33.

The main results of the novae populations and nucleosynthesis are outlined in these two pannels:

3.7 Resolved stellar populations in M31

Main scientific questions:

- Is the Star Formation History derived using CMD techniques similar to the fossil-record SFH?

- M31 is the perfect candidate for this bench test

- Complete M31 IFU mapping will address this and other many issues:

- Abnormal Balmer ratios, benchmark for studies of the stochastic interface for stellar populations techniques, Planetary Nebulae hunter (origin of M31 substructures), …

M31 with PMAS (Dong et al. 2018)

At later times, the star formation rate decreased and then experienced a significant rise around 1 Gyr ago, which pervaded the entire M31 bulge. After that, stars formed at less than 500 Myr ago in the central 130 arcsec. The secular evolutionary process still continuously builds up the M31 bulge slowly.

4. Instrument overview

A schematic view of the LUCA instrument at the CAHA Schmidt telescope:

We describe below each of the instrument systems, including the Scmidt telescope.

(A) Schmidt telescope

The Schmidt telescope was originally located at the Hamburg Observatory since 1955 and later installed at Calar Alto Observatory in 1980 by the Max-Planck-Institut für Astronomie, Heidelberg. The corrector plate and mirror have 80 cm and 120 cm diameter respectively; the focal length is 240 cm and the focal ratio f/3. A field-of-view of 8º (335 mm) diameter is available with a plate scale of 86.2"mm. See a digitalized image of M31 below. More details on the telescope can be found  in Birkle et al. (1994).

A digital image of 5.5º x 5.5º of the M31 field photographed on a Kodak 24 cm x 24 cm curved plate using the Schmidt telescope at Calar Alto (credit: HDAP).

Our Team has been in close contact with the CAHA staff to follow up their upgrade of the telescope control and had several visits and meetings to evaluate the assessment of the LUCA needs and specifications for the Focal Plane Assembly, specifications and logistics at the Schmidt telescope. We have also made a Zemax optical model of the Schmidt telescope using the original paper drawings. This was necessary to perform the optical design of the spectrograph.

Our colleague J. Sánchez inspecting the focal plane assembly.

Sketch of the optical elements of the Schmidt telescope.

The distance from corrector (Ø80 cm) to primary mirror (Ø120 cm) is 572 cm

FOV = 8º or 33.5 cm diameter

Focal = F3 or aperture angle of ≈19º

Distance primary to focal plane = 240 cm

Radius of curvature primary = 480 cm

Radius of curvature focal plate = 240 cm

Schmidt Corrector: the first optical element is 80 cm diameter lens in UBK/Schott glass. UBK7 is like the standard BK7, but extended to 300 nm to the UV (BK7 goes to 350 nm). The infrared cut is at 1500 nm for both glasses. Thus transmission is guaranteed from 300 nm to 1500 nm.

The second optical element is a 120 cm diameter concave spherical mirror, the primitive radius of curvature of this sphere is 480 cm. It has no central hole. The reflectance layer is made in aluminum with good transmission from 350 nm to 1500 nm.

(B) Focal Plane Assembly

The nominal Focal Plane is a spherical circular cap (sphere radius 240 cm) of 33,5 cm diameter. Light rays arrive perpendicular to this cap. In the past the Schmidt was used with square photographic plates of 24cm side; the glass photo plate must be curved in order to replicate the nominal sphere curvature.

The focus mechanism had three parts:

A. a moving part (containing the cassette), width ≈ 9 cm

B. a fixed part that contains the motors to focus, width ≈ 8 cm

C. a baffle structure that support the two previous parts and it is attached to the spider plate, width ≈ 9 cm

Now A has been removed.

The IFU will be placed at the Focal Plate. We consider two solutions:

- On-axis solution. The ideal solution is to put the IFU on the optical axis at the center of the Focal Plate, which implies folding of the fiber bundle perpendicular to the optical axis.

- Off-axis solution. To work in IFU mode at the Schmidt another possible solution is to take advantage of the current retractable system of putting the “photographic plates”, and install the IFU perpendicular to the optical axis of the telescope with a mirror at 45º on that axis to receive the light. In this way we can put other mirrors at 45º to bend the light to a coherent fiber bundle.

Frontal and lateral view of the LUCA Focal Plate at the Schmidt telescope. The size of the plate is 12 cm x 12 cm.

We believe that the off-axis solutions offer many advantages. See above a schematic view of the Focal Plate.

(C) Fiber system

The fiber system consists of four main components:

- 20 m fiber cable

- IFU with >800 fibers

- Fiber connector

- Slit assembly

- IFU cross-talk simulations

- The LUCA spectrograph system

- Detector system

Below we provide a description.

C.1. 20 m fiber cable

Cutaway view showing the composition of a stranded cable. “Miniflex” segmented furcation tubes containing science fibres are stranded around a central tensile element. Fill factor, cable diameter, stranding pitch are all optimised for minimum fibre stress. Cables are produced by Durham University in collaboration with a UK company inventors of the Miniflex tube.

The fibre feed scheme for channeling fibre into the Miniflex extrusion line. Introducing the fibre during the production of the Miniflex tube results in a highly parallel lay and minimal tensile stress. Fibres are first drawn through a boron nitride powder coating bath to apply a uniform and continuous coat of the dry powder lubricant. This minimises any stress due to friction, and prevents fibres sticking together and sticking to the inner wall of the tube as it is formed.

In the figures below we show some pictures.

(Left) Spools of fibre loaded onto the pay-off structures. (Right) A set of ceramic eyelets guides the fibres from the pay-off and into an agitation bath of boron nitride powder, which coats the fibres before they pass through into the Miniflex tube extruder.

The cable production line, starting with the tensile element on the right. This feeds into a planetary strander which carries spools of Miniflex furcation tubes containing the fibres. The tubes are wound around the tensile element in planetary-fashion (no twist). The stranded cable is then bound with consolidating tape, resulting in a stranded and tape-bound cable emerging on the left. The haul-off pulls cable through the production line at a constant rate and maintains tension.

The production line, set up and ready to begin cable manufacture. The inset photos bottom right show stranded cable coming off the line; (left) the cable emerges from the machine, (right) the cable after tape binding.

Anticlockwise from top right:  More pictures of the strander and the production line, finished cable core, putting the cable core into conduit.

C.2. IFU with more than 800 fibers

MaNGA-style IFU input using tapered ferrule, bare fibres in direct contact. Suitable for schemes without microlenses. The IFU manufacturing for LUCA relies on the experience of the Durham University.

Examples of IFU 2-D fibre array inputs using hole arrays. Suitable for schemes with microlenses only because sparse distribution of fibres means low fill factor.

Transmission of two candidate fibers (Polymicro FBPI and FPI) superposed with a nebular spectrum for reference. The two wavelength ranges corresponding to different spectrograph designs extend to 685 (saturated color) and 880nm (light color).

C.3. Fiber connector

We propose a connector to facilitate the logistics. It will connect the fiber cables from the telescope Focal Plate (17 m) and the spectrograph slit (3 m).

Glenair MIL Spec high efficiency fibre connector. A modular connector builds up of floating-mount, individually spring-loaded pins. Fibres are bonded in white zirconia ferrules on the ends of the pins. Photo below shows an example of this connector type assembled by SQS.

C.4. Spectrograph Slit Assembly

Slit Unit have been made in Durham for many instruments – fibre arrays with large fibre counts, from simple parallel schemes (top right) to complex, curved / non-telecentric / off-axis geometries. Details are shown in the figure below. Top-left: Single FMOS slit unit, showing construction formed from individual blocks. Bottom-left: Two FMOS slit units, showing construction formed from individual  blocks.

We propose for LUCA at the Schmidt telescope a monolithic V-groove slit design – a prototype concept done at Durham University based on Subaru PFS slit geometry; see below.

The monolithic v-groove array prototyped to the PFS design is shown below. Cut from a single piece of borosilicate glass, this v-groove array exhibits extremely high tolerances, high thermal stability, low profile (< 3 mm height). This solution will improve the spectrograph performance as compared to the classical pseudo-slits, as shown above where groups of 50-109 fibers are put together along the slit.

C.5. IFU cross-talk simulations

A single IFU pointing (cf. figure above of single pointing on M33) generates a spectral-spatial 2D image in the detector, with fibers arranged along the spatial direction. A slice of this image along the spatial direction is shown on the top plot of the enclosed image, with a zoomed in shown in the insert, where the single fiber PSF can be seen. A PSF model (e.g., a Gaussian) is fitted to each fiber PSF as shown in the bottom-left figure (in orange in the figure), and the cross-talk is defined as the fraction of the PSF that falls below neighbouring fibers (darker orange wings). The two bottom-right figures give the values of cross-talk extracted for two different values of the fiber pitch at slit (the peak-to-peak separation of fibers along the slit) with values of 150 and 170 micron.

C.6. The LUCA Spectrograph system

To meet the science goals we require to build a new spectrograph that will allow observing in the optical spectral range 360-880 (360-680) with resolution 4000 (2000). The IFU will have a unique wide FOV of 6' x 6’ with >800 fibres, each of 8" aperture on the sky, which corresponds to 25 pc physical scale in M31 and M33.

Our collaborators at the AAO have performed a trade-off study between 4 options for LUCA at the CAHA Schmidt telescope.

Jon Lawrence, Head of Technology of the Australian Astronomical Observatory (AAO), visited the IAA on Feb. 18-19. Jon spent his time in Granada to work with our group on the progress of the AAO feasibility study of LUCA at CAHA 3.5 m telescope. He also discussed with us the proposal of the AAO spectrograph, design by Robert Content, for the LUCA spectrograph at the Schmidt. He also met with the IAA director.

Four options for LUCA at the CAHA Schmidt telescope:

- Option 1 (SPH). This design was developed based on the motivation to replicate as far as practical the Hector spectrograph design with minor variations.

- Option 2: Option 1 blue arm only (SPH_blue). This option includes the blue arm only for option 1. This design is upgradable in the future to include the red arm.

- Option 3: Option 1 lite (SPH_lite). This design was based on scaling down the size of the SPH spectrograph so that it matches the efficiency of the DESI spectrograph. Note for this option it is likely that further savings could be made by e.g., removing lenses or aspheres or changing glass type or continuing the optimisation.

- Option 4: Schmidt_LUCA (SL). This design is based around the specifications for the LUCA project. It has a single arm only with reduced wavelength coverage and resolution.

Table below gives the main parameters for the 4 options. As a reference, the DESI spectrograph has been included.

Parameters for each option relative to the DESI clone option.

More details can be found in the Appendix.

We provide a chart for each of the options with the IFU FoV. Note that Option 2 has the same FoV of Option 1. We also show a representative number of positions needed for each option to map M33 completely. Note that the DESI spectrograph would have yielded a FoV of 4'x4'.

The mechanical design of any of the preferred Options will be based on that done for the Hector spectrograph being built for the AAO telescope.

Spectrograph transmission:

The figure shows the % transmission for spectrograph Option 3; very similar to Options 1 and 2. Option 4, not shown, would have faster drop at the edges because the larger bandwidth a faster drop in grating efficiency. The figure includes all optics pertaining only to the spectrograph.

C.7. Detector system

We are considering the scientific e2v CCD Sensor 4096 x 4096 Pixels:

- blue arm: CCD231-84 Back Illuminated

- red arm: CCD thick red sensitive

The blue CCD will be provided by CAHA; see below for its properties.

Pending a formal agreement, the CCD dewar will be provided by INAOE based on their previous experience with MEGARA at GTC.

The detector mount cradle design for the spectrograph with 5-axis adjustment will be based on the design for Hector at AAO, see below.

(D) Electronics, Software Control and Data system

# D.1 Instrument Control System structure

The system in charge of the control of whole instrument (sensors, mechanisms, cameras and telescope) is the Instrument Control System (ICS). This section will give a general description of the LUCA@CAHA-Schmidt ICS, both electronics and software control.

The structure of ICS can be divided into three main subsystems:

ICS Structure

The conceptual architecture of the ICS has been converted to separate work packages/sub-systems and the interaction between them will be controlled by the instrument control software. Next figure shows the ICS Product Breakdown Structure, addressing the three main sub-systems described before: electronics, software and data processing and storage.

ICS Product Breakdown Structure (PBS)

## D. 2. Instrument Control Electronics (ICE)

The LUCA@CAHA-Schmidt instrument control electronics (ICE) package consists of several hardware components to control the devices required for the instrument operation. The choice of the hardware components will be driven by well-established industrial standards and Commercial Off-the-Shelf (COTS) products and CAHA recommendations.

- Mechanisms control:

The instrument will not have many complex mechanisms to control, but only for the calibration unit and the detector shutter.

- Shutter (Uniblitz): controlled by CCD-ROE (Archon ST) trigger out signal.

- Calibration Unit:

    - Calibr. Mechanisms: Embedded PC Beckhoff CX-51xx

    - Cal. Lamps: HCL Power Supply (P209) + Embedded PC-PLC  (CX-51xx)

| Beckhoff embedded PC (CX-51xx) | HCL Power Supply (P209) |
| --- | --- |

- Housekeeping & Monitoring:  the temperature, humidity and pressure sensors for the instrument monitoring will be handled by the same Beckhoff embedded PC used for the Calibration Unit.

- CCDs Readout Electronics (ROE)

The Archon modular CCD controller is purposed as the CCD detector side controller.  It is a high performance modular CCD controller developed by Semiconductor Technology Associates, Inc (STA). It receives configuration information from and sends status and image data to a host PC via a gigabit Ethernet connection (either copper or fiber). Power is supplied to Archon through a circular connector carrying the DC voltages necessary for a particular system or through a standard AC power cord for Archon AC. The CCD to be operated is connected to Archon through a custom interface board, built to route signals from the CCD cabling to the internal Archon module connectors.

Figure 5 Anchor controller top level block diagram

The Archon controller consists of a FPGA with an instantiated 32-bit CPU, supporting memory and Ethernet controller. This highly modular system incorporates 16-bit for-channel ADC modules, four such modules will be utilized – one per detector. To minimize noise insertion, the Archon system will be located immediately on top of the CCD’s giving the minimal possible cabling from the raw analog CCD raw output to the input preamps on the ADC modules.

Notice that the Archon controller is used by both the Zwicky Transient Facility (ZTF) and the Large Synoptic Survey telescope (LSST).

- A&G Cameras:

The cameras purposed for the A&G systems are the Atik 414EX CCD, USB interface controlled and fed by Coherent fiber bundles at the LUCA Schmidt Focal Plate (see pictures below).

Atik 414EX CCD

Next figure shows the hardware interfaces involved in the control of the hardware devices purposed for the ICE.

## 2. Instrument Control Software (ICSW)

This section describes the purposed components of LUCA@CAHA-Schmidt instrument control software (ICSW). Science data reduction software is out of the scope of this section, and will be addressed in a different document.

The ICSW is comprised of the next components:

- Telescope Interface (TCS)

  - CAHA standard: based on INDI (TBC)

  - Functions: Pointing, Focusing and Guiding

- Spectrographs Control Software (SCS)

  - Housekeeping & Monitoring

  - Calibration Unit control

  - Room Thermal Control (TBC)

- CCD Control Software (CCS)

  - Based on Archon GUI source code (provided by STA)

- AG Control Software (ACS)

  - Open PHD2 Guiding + INDI (telescope + camera driver)

- Observation Tool (OT)

  - GUI for Observations preparation and run, and image display.

### Software development Environment

The software will be developed in the C/C++ and Python programming languages. Qt libraries for GUI and TwinCAT3 environment for embedded PC, will also be used.

The instrument control workstation (IWS) will be based on CentosOS operating System and the Beckhoff embedded PC will run WindowsCE OS.

The GIT revision control software will be used for software configuration management.

## Data Handling System:

The LUCS@CAHA-Schmidt data handling system will be in charge of the data processing and storage of the data produced by the instrument. It will be composed by two main computers: the Instrument Control Workstation (IWS) and the Data Processing Workstation (DPW). Additionally, the data obtained will be copied daily to the CAHA Archive system.

- Instrument Control Workstation (IWS)

  - Run Observation Tool and Display Tool

  - 1 month storage, with fast storage disks (SSD RAID1)

- Data processing Workstation (DPW)

  - Run Pipeline and Quick Look tools (QL)

  - Massive Storage Disks for LUCA Survey (RAID5)

  - Run Web server for web front-end

- CAHA Archive

  - LUCA data are copied daily to CAHA archive

Therefore, the DHS will provide the infrastructure and procedures needed to store the raw data (FITS files) generated by the instrument and the data produced by the data reduction pipeline and Quick Look (QL) tool. In principle, night data will be stored in the IWS with a storage capacity for at least one month. Then, data will be copied daily to the LUCA Data Processing Workstation (DPW) for its processing and to the CAHA Archive.

Additionally, and for the LUCA data release, a web interface will be provided to liberate the data fully reduced and quality controlled.

LUCA@CAHA-Schmidt Data Handling System

Due to long exposition times, the instrument will not generate a large volume of data, approximately 4x4kx4k (16bits) frame per astronomical night hour, approximately 128 MB per hour, what means approximately 1280 MB/night (10hours/night).

The details of the steps for data processing will not be addressed in this section.

Acquisition & Guiding. Assessment of Gaia Guiding Stars

We use the Gaia database through the astroquery interface to generate sky fields with stars. For the Schmidt scale at the focal plane of 86.20 arcsec/mm and a typical guiding detector of size 4x4mm (e.g. a CMOS 1000x1000 pixels of 4micron each) the FoV to search for guiding stars at any one location on sky is 5.75’x5.75’.

To study the availability of stars for guiding, we generate random locations on a sphere and select 10000 fields with declination above -22.78º (so that maximum airmass < 2). We then count the stars brighter than a given magnitud (Gaia ‘phot_g_mean_mag’). The figure shows the percent number of these fields with at least one guide star brighter than a given magnitude. Clearly, basically almost any 5.75’x5.75’ location on the sky has guide stars brighter than 16 mag, which guarantees that we can guide by having a single CMOS located at the Focal Plane next to the IFU.

5. Project Layout: work packages

We provide the list of work packages together with the institutions responsible for their delivery. This is pending of a proposal and a formal agreement.

- Schmidt Telescope [CAHA]

Telescope Control System

Focusing, Pointing, Seeing characterisation

Spectrograph Room

Control Room

- Focal Plane Assembly [IAA, Durham]

Integral Field Unit - A&G Unit - Instrument Structure Assembly

- Fiber System [Durham + Manufacturing Companies]

20 m Fiber Cable - Connector - Spectrograph Slit Assembly

- Spectrograph [AAO]

Opto-Mechanical Components - Optical Bench - Optical Alignment

- Detector System [Simon Tulloch + INAOE, Companies)]

Cryostats - CCDs - Readout Electronics

- Assembly Integration Verification [IAA]

- Data System [IAA]

Control Software - Data Acquisition Software - Data Reduction Pipeline

- Survey Operations [IAA]

Exposure Time Calculators - Tiling Strategies - Target Selection - Observing Strategies

- Data Releases Plan [IAA]

6. Project schedule and cost

It is a must for the IAA that the LUCA spectrograph at the Calar Alto Schmidt telescope will see first light and will deliver its first set of science data before the end of the Severo Ochoa Award. This requirement drives the schedule of LUCA@CAHA Schmidt. Thus, first light at the telescope is foreseen for June 2021.

See below the Gantt Chart for the tentative Project Schedule of LUCA@CAHA Schmidt.

Table below shows the schedule estimate for the spectrograph construction of LUCA@CAHA Schmidt provided by the AAO (see Appendix for more details):

Note that in the Gantt Chart above, To finalize optical design, has been scheduled to the Final Design Review of the Project, which is set to October 2019.

Project Budget estimate of LUCA@CAHA Schmidt:

We have already been granted funding for the construction of the LUCA spectrograph and the fiber system at the CAHA Schmidt telescope thanks to two grant awards,

(1) 120000 euro by the Spanish Ministry of Science and Innovation through its 2018 Scientific Infrastructure Call (Ref. EQC2018-004621-P),

(2) 450000 euro by the regional Junta de Andalucía program to strengthen research institutes for the acquisition of the "Severo Ochoa" award of excellence (Ref. SOMM17/5208/IAA).

The blue sensitive e2v CCD will be provided by CAHA (120k euro).

The CCD Cryostats will be be delivered by INAOE (200k euro for 2 units, pending of agreement).

Our current budget is 570k euro (IAA) + 200k euro (INAOE, TBC) + 120k euro (CAHA).

| Instrument Systems | 2019 | 2020 | 2021 |
| --- | --- | --- | --- |
| A&G, Focal Plate Unit | 5k | 20k |  |
| IFU + 20m Fiber Cable | 120k |  |  |
| Fiber Connector |  | 25k |  |
| Slit Assembly |  | 35k |  |
| Spectrograph (Option 4) | 50k | 400k + 100k | 350k |
| 1 Cryostat |  | 100k |  |
| 1 CCD e2v |  | 120k |  |
| 1 CCD Controller | 35k |  |  |
| Control & Software | 0.5 FTE | 1 FTE | 0.5 FTE |
| PM & System Engineer | 0.5 FTE | 1 FTE | 0.5 FTE |
| Detector Sys. Consultant Consultancy | 12k | 24k | 12k |
| Fiber Sys. Consultant ConsConsultancy | 18k | 35k | 18k |
| TOTAL BUDGET | 170k +75k + 1FTE | 520k + 100k + 239k + 2FTE | 380k + 1FTE |

Amounts in white correspond to approved IAA funding and CAHA CCD, in green INAOE contribution (pending of agreement), and in red the requested funding needed to complete the entire instrument construction. Note that the yearly cost of the spectrograph construction will have to be discussed with AAO.

AAO cost estimates for the LUCA spectrograph include:

- All lenses, including slit lenses, collimating and camera lenses and powered cryostat windows;

- Volume Phase Holographic gratings;

- Dichroic and/or reflective mirror;

- All mechanical mounts, for all lenses and VPHG and dichroic;

- Cradle with 5-axis manual adjustment for the cryostat, with capacity to upgrade to an automatic adjustment;

- All labour associated with design, fabrication, assembly, integration, and testing prior to shipment (noting that tests will be limited without the final cryostats).

See Appendix for more details. To proceed to final quote the chosen design should be finalized. This will likely reduced the costs and also risks for the project.

7. Competition beyond 2020: SDSS-V Local Volume Mapper

The SDSS-V Local Volume Mapper is planned to start observations beyond 2020. All details can be found in arXiv:1711.03234. In the Chart below one can see a summary of the project, which intends to perform IFU mapping of

- Milky Way , LMC

- M31, M33 and other galaxies out to 5 Mpc:

  - sparse IFS sampling

  - statistical samples of HII regions at 20 pc resolution in M31 and ~50pc in other galaxies

The SDSS-V LVM footprint and sampling strategy is shown below.

SDSS-V LVM is complementary to LUCA since does not intent to perform an entire IFU mapping of M31, M33 and M101. In this regard LUCA will be unique and will offer to the IAA and the astronomical community with an invaluable legacy, which will be fundamental in our understanding of galaxy formation and evolution, and will result key for follow-up studies in the ELT era.